## Sheet1
ASSET DATA REQUIREMENTS LIST - ADRL Electrical and Intelligent Transport Systems
| EQUIPMENT DESCRIPTION : | [5 empty] | Rev:
| ADRL No : | [5 empty] | Date:
ADRL Code | DESCRIPTION |  | TENDER | MRWA REVIEW |  | MRWA EAM | FINAL | INCLUDE IN: | AS CONSTRUCTED required
REVIEW
|  |  | No. of copies | No. of copies | Wks from start | required | No. of copies
V | Management / Execution Documents
V01 | Contract Drawing & Data List (CDDL) |  | 1 | 1 |  |  | 1E,1P | IOM
V02 | Inspection And Test Plans (ITPs) - Sample only for Tender |  | 1 | 1 |  |  | 1E,1P | MDR
V03 | Non Conformance Reports |  |  | 1 |  |  | 1E,1P | MDR
V04 | Engineering / Procurement / Fabrication Schedule |  | 1 |  |  |  | 1E,1P | MDR
V05 | Spare Parts with Pricing |  | 1 |  |  |  | 1E,1P | IOM
V06 | Commissioning Spare Parts List |  |  | 1 |  |  | 1E,1P | IOM
V07 | Manufacturer’s Data Report (MDR) Index/IOM Index |  |  | 1 |  |  | 1E,1P
V08 | Manufacturer’s Data Report (MDR) (Note 1) | [5 empty] | 1E,1P
V09 | Installation, Operation and Maintenance Manual (IOM) (Note 2) | [5 empty] | 1E,1P
M | Mechanical
M01 | Equipment List |  |  | 1 |  |  | 1E,1P | IOM
M02 | Outline / General Arrangements |  |  | 1 |  |  | 1E,1P | IOM
M03 | Cross Sectional Drawings |  |  | 1 |  |  | 1E,1P | IOM
M04 | Shop Fabrication Drawings |  |  | 1 |  |  | 1E,1P | IOM
M05 | Detail Drawings with Parts List |  |  | 1 |  |  | 1E,1P | IOM
M06 | Preliminary Structural Design Information |  |  | 1 |  |  | 1E,1P | IOM
M07 | Final Structural Design Calculations |  |  | 1 |  |  | 1E,1P | IOM
M08 | Weights and COG |  |  | 1 |  |  | 1E,1P | IOM
M09 | Foundation Details & Loading Data |  |  | 1 |  |  | 1E,1P | IOM
M10 | Lifting Drawings |  |  | 1 |  |  | 1E,1P | IOM
E | Electrical
E01 | Electrical Equipment List |  | 1 |  |  |  | 1E,1P | IOM
E02 | Power Consumption List |  |  | 1 |  |  | 1E,1P | IOM
E03 | Electrical Wiring Diagram |  | 1 |  |  |  | 1E,1P | IOM
E04 | Electrical Schematics |  |  | 1 |  |  | 1E,1P | IOM
E05 | Electrical Layout Drawings |  |  | 1 |  |  | 1E,1P | IOM
E06 | Cable Interconnection Diagrams |  |  | 1 |  |  | 1E,1P | IOM
E07 | Earthing Layout / Details |  |  | 1 |  |  | 1E,1P | IOM
E08 | Electrical Data Sheets & Curves |  |  | 1 |  |  | 1E,1P | IOM
E09 | Cable Schedules |  |  | 1 |  |  | 1E,1P | IOM
E10 | Outline / General Arrangement Drawings |  | 1 |  |  |  | 1E,1P | IOM
E11 | Electrical Calculations |  |  | 1 |  |  | 1E,1P | MDR
E12 | Nameplate Details |  |  | 1 |  |  | 1E,1P | MDR
I | Intelligent Transport Systems - Instrumentation and Control
I01 | Instrument Index |  |  | 1 |  |  | 1E,1P | IOM
I02 | Calibration Sheets |  |  | 1 |  |  | 1E,1P | IOM
I03 | Data Sheets |  |  | 1 |  |  | 1E,1P | IOM
I04 | Logic Diagrams |  |  | 1 |  |  | 1E,1P | IOM
I05 | I/O Schedule |  |  | 1 |  |  | 1E,1P | IOM
I06 | Interconnection Diagrams |  |  | 1 |  |  | 1E,1P | IOM
I07 | Cable Schedule |  |  | 1 |  |  | 1E,1P | IOM
I08 | Outline / General Arrangement Drawings |  |  | 1 |  |  | 1E,1P | IOM
I09 | Control Panel Termination Diagrams |  |  | 1 |  |  | 1E,1P | IOM
I10 | Control Panel - Internal and External Layout |  |  | 1 |  |  | 1E,1P | IOM
I11 | Control Panel Wiring Diagram |  |  | 1 |  |  | 1E,1P | IOM
I12 | Cable block Diagrams |  |  | 1 |  |  | 1E,1P | IOM
I13 | Calculations |  |  | 1 |  |  | 1E,1P | MDR
F | Supplier Fabrication Procedures
F01 | Welding Procedure Specifications (WPS) including repair procedures |  |  | 1 |  |  | 1E,1P | MDR
F02 | Welding Procedure Qualification Records (PQR) |  |  | 1 |  |  | 1E,1P | MDR
F03 | Welding Map / Schedule |  |  | 1 |  |  | 1E,1P | MDR
F04 | Welder Qualification Register |  |  | 1 |  |  | 1E,1P | MDR
F05 | Fabrication Procedures |  |  | 1 |  |  | 1E,1P | MDR
F06 | Paint & Surface Preparation Procedure |  |  | 1 |  |  | 1E,1P | MDR
F07 | Handling Procedure and Special Lifting Requirements |  |  | 1 |  |  | 1E,1P | MDR
P | Supplier Inspection / Test / Procedures (Note 3)
P01 | Inspection and Test Record (ITR) Procedures |  |  | 1 |  |  | 1E,1P | IOM
P02 | Factory Acceptance Testing Procedures (FAT) |  |  | 1 |  |  | 1E,1P | IOM
P03 | Pre-Installation Testing Procedures (PIT) |  |  | 1 |  |  | 1E,1P | IOM
P04 | Installation Acceptance Testing Procedures (IAT) |  |  | 1 |  |  | 1E,1P | IOM
P05 | Site Acceptance Testing Procedures (SAT) |  |  | 1 |  |  | 1E,1P | IOM
P06 | Network Integration Testing Procedures (NIT) |  |  | 1 |  |  | 1E,1P | IOM
P07 | System Integration Acceptance Testing Procedures (SIAT) |  |  | 1 |  |  | 1E,1P | IOM
P08 | Final System Testing Procedures (FST) |  |  | 1 |  |  | 1E,1P | IOM
T | Supplier Test / Inspection Reports / Records
T01 | Mechanical Inspection and Test Records (ITRs) |  |  | 1 |  |  | 1E,1P | MDR
T02 | Instrument Inspection and Test Records (ITRs) |  |  | 1 |  |  | 1E,1P | MDR
T03 | Electrical Inspection and Test Records (ITRs) |  |  | 1 |  |  | 1E,1P | MDR
T04 | Civil / Structural Inspection and Test Records (ITRs) |  |  | 1 |  |  | 1E,1P | MDR
T05 | Factory Acceptance Testing Report (FAT) |  |  | 1 |  |  | 1E,1P | MDR
C | Material / Supplier Certificates
C01 | Certificates of Compliance |  |  | 1 |  |  | 1E,1P | MDR
C02 | Warranty Certificates |  |  | 1 |  |  | 1E,1P | MDR
| EQUIPMENT DESCRIPTION : | 0
| ADRL No : | 0
REVISION HISTORY
Rev | Description | Prepared by | Date |  | Approved by |  |  | Date
| TEMPLATE ONLY | Andrew Martin
Notes:
1 | MDR documents due 2 weeks after delivery
2 | IOM documents due 4 weeks before delivery
3 | PIT is to replicate the onsite installation and operation prior to the installation. IAT is to confirm that the equipment has been installed and to correct installation errors.
SAT is to verify the operation of the ITS equipment and devices in their installed state. NIT is to verify the operation of ITS equipment connected to the TCS network.
SIAT is to verify the end-to-end system integration and operations of the device. FST is to verify the end-to-end delivery from device to control system (STREAMS).
Refer to the MRWA ITS Testing and Commissioning Guidelines D17#362799 for more detailed information.